## RS500
Skill Name | Example Experience | Reference Material | Reference Documents | Industry Example Experience | Weight % | <table class="center"> <thead><th>Skill Name</th> | <th>Example Experience</th> | <th>Reference Material</th> | <th>Reference Documents</th> | <th>Industry Example Experience </th> | <th>Weight %</th>
Configure Development workstation | Configure the VM with the development software installed on it. |  |  |  |  | <tr>Configure Development workstation</tr> | <tr>Configure the VM with the development software installed on it.</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Connect to PLC | Go online with the PLC and make changes |  |  |  |  | <tr>Connect to PLC</tr> | <tr>Go online with the PLC and make changes</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Upload/Download Code | Upload or download full code to PLC |  |  |  |  | <tr>Upload/Download Code</tr> | <tr>Upload or download full code to PLC</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Change IO Config | Change the IO Config on analog, discrete, hsc,Rstahl, and more cards |  |  |  |  | <tr>Change IO Config</tr> | <tr>Change the IO Config on analog, discrete, hsc,Rstahl, and more cards</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Change register max | Chang the max register and set the address type and mixed or topological |  |  |  |  | <tr>Change register max</tr> | <tr>Chang the max register and set the address type and mixed or topological </tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Setup comms protocol | Setup DH+,Ethernet, RS-2320 address via Rswho |  |  |  |  | <tr>Setup comms protocol</tr> | <tr>Setup DH+,Ethernet, RS-2320 address via Rswho</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Identify different file types associated with this plc | .RSS - Project File |  |  |  |  | <tr>Identify different file types associated with this plc</tr> | <tr>.RSS - Project File</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
In Progress | [5 empty] | <table class="center"> <thead><th>In Progress</th> | <th></th> | <th></th> | <th></th> | <th></th> | <th></th>
Program standards in PLC Software | Program SE standards into a live demo project |  |  |  |  | <tr>Program standards in PLC Software</tr> | <tr>Program SE standards into a live demo project</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Need to complete | [5 empty] | <table class="center"> <thead><th>Need to complete</th> | <th></th> | <th></th> | <th></th> | <th></th> | <th></th>
Read manuals and document | Read the M340 manual, M580 , manual, networking, and general IO manual |  |  |  |  | <tr>Read manuals and document</tr> | <tr>Read the M340 manual, M580 , manual, networking, and general IO manual</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
[6 empty] | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>

## RXLogix 5000 - Studio5000
Skill Name | Example Experience | Reference Material | Reference Documents | Industry Example Experience | Weight % | <table class="center"> <thead><th>Skill Name</th> | <th>Example Experience</th> | <th>Reference Material</th> | <th>Reference Documents</th> | <th>Industry Example Experience </th> | <th>Weight %</th>
Configure Development workstation | Configure the VM with the development software installed on it. |  |  |  |  | <tr>Configure Development workstation</tr> | <tr>Configure the VM with the development software installed on it.</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Connect to PLC | Go online with the PLC and make changes |  |  |  |  | <tr>Connect to PLC</tr> | <tr>Go online with the PLC and make changes</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Upload/Download Code | Upload or download full code to PLC |  |  |  |  | <tr>Upload/Download Code</tr> | <tr>Upload or download full code to PLC</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Change IO Config | Change the IO Config on analog, discrete, hsc,Rstahl, and more cards |  |  |  |  | <tr>Change IO Config</tr> | <tr>Change the IO Config on analog, discrete, hsc,Rstahl, and more cards</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Change register max | Chang the max register and set the address type and mixed or topological |  |  |  |  | <tr>Change register max</tr> | <tr>Chang the max register and set the address type and mixed or topological </tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Setup comms protocol | Setup Ethernet address via RSLinx or in PLC program for remote racks |  |  |  |  | <tr>Setup comms protocol</tr> | <tr>Setup Ethernet address via RSLinx or in PLC program for remote racks</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Identify different file types associated with this plc | .ACD - project file<br> .L5K - Routine export |  |  |  |  | <tr>Identify different file types associated with this plc</tr> | <tr>.ACD - project file<br> .L5K - Routine export</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Develop a AOI | Develop AOI for motor control, valve control, etc. |  |  |  |  | <tr>Develop a AOI</tr> | <tr>Develop AOI for motor control, valve control, etc.</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Develop a UDT | Develop a UDT that will link all the variables from the SE standards into one block |  |  |  |  | <tr>Develop a UDT</tr> | <tr>Develop a UDT that will link all the variables from the SE standards into one block</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
In Progress | [5 empty] | <table class="center"> <thead><th>In Progress</th> | <th></th> | <th></th> | <th></th> | <th></th> | <th></th>
Program standards in PLC Software | Program SE standards into a live demo project |  |  |  |  | <tr>Program standards in PLC Software</tr> | <tr>Program SE standards into a live demo project</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Need to complete | [5 empty] | <table class="center"> <thead><th>Program standards in PLC Software</th> | <th>Program SE standards into a live demo project</th> | <th></th> | <th></th> | <th></th> | <th></th>
Read manuals and document | Read Rockwell Control Logix and Compact Logix manual and take notes |  |  |  |  | <tr>Need to complete</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>

## FTViewSE
Skill Name | Example Experience | Reference Material | Reference Documents | Industry Example Experience | Weight % | <table class="center"> <thead><th>Skill Name</th> | <th>Example Experience</th> | <th>Reference Material</th> | <th>Reference Documents</th> | <th>Industry Example Experience </th> | <th>Weight %</th>
Configure Development workstation | Configure the VM with the development software installed on it. |  |  |  |  | <tr>Configure Development workstation</tr> | <tr>Configure the VM with the development software installed on it.</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Research Software | Learn internally at Interstates while working countless projects |  |  |  |  | <tr>Research Software</tr> | <tr>Learn internally at Interstates while working countless projects</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Build a standards project in this HMI software and simulate it | Deployed multiple Plant PAX and Interstates Standards builds |  |  |  |  | <tr>Build a standards project in this HMI software and simulate it</tr> | <tr>Deployed multiple Plant PAX and Interstates Standards builds</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Write advanced scripts in all supported languages | Wrote scripts for alarm horn, PC notification sound, reassigning tags, and many more |  |  |  |  | <tr>Write advanced scripts in all supported languages</tr> | <tr>Wrote scripts for alarm horn, PC notification sound, reassigning tags, and many more</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Deploy application to live site or R&D Lab | Deployed multiple applications to multiple different plants |  |  |  |  | <tr>Deploy application to live site or R&D Lab</tr> | <tr>Deployed multiple applications to multiple different plants</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Develop a main screen | Developed a overview screen for each area of multiple plants |  |  |  |  | <tr>Develop a main screen</tr> | <tr>Developed a overview screen for each area of multiple plants</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Develop a static popup | developed a General notification popup |  |  |  |  | <tr>Develop a static popup</tr> | <tr>developed a General notification popup</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Develop a dynamic popup | developed a motor control popup |  |  |  |  | <tr>Develop a dynamic popup</tr> | <tr>developed a motor control popup</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Design and deploy a multi client stand alone system | 3 separate stand alone systems deployed to multiple sites |  |  |  |  | <tr>Design and deploy a multi client stand alone system</tr> | <tr>3 separate stand alone systems deployed to multiple sites</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Trending | Built trending with trend control |  |  |  |  | <tr>Trending</tr> | <tr>Built trending with trend control</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Publish application | Publish and deployed application to multiple sites |  |  |  |  | <tr>Publish application</tr> | <tr>Publish and deployed application to multiple sites</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Build navigation bar | Build navigation bar to navigate around all systems |  |  |  |  | <tr>Build navigation bar</tr> | <tr>Build navigation bar to navigate around all systems</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Configure Tags | Configure tags for historical use, data logging, internal alarms |  |  |  |  | <tr>Configure Tags</tr> | <tr>Configure tags for historical use, data logging, internal alarms</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Configure OPC UA/DA tags | Have configure OPC DA for Kepware and deployed. Have configured OPC DA for Schneider OPCUA server however tag limit of < 1000 or won't work with Rockwell so only used in R&D |  |  |  |  | <tr>Configure OPC UA/DA tags</tr> | <tr>Have configure OPC DA for Kepware and deployed. Have configured OPC DA for Schneider OPCUA server however tag limit of < 1000 or won't work with Rockwell so only used in R&D </tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Build tag generation tool | Build a alarm generation tool as well as a data log generation tool that would auto create tags based off of a csv file |  |  |  |  | <tr>Build tag generation tool</tr> | <tr>Build a alarm generation tool as well as a data log generation tool that would auto create tags based off of a csv file</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Identify different file types associated with this plc | .gfx - Graphic File<br>.ggfx - Global Object Graphic File<br> .apa - Project backup<br> .apb - Project backup |  |  |  |  | <tr>Identify different file types associated with this plc</tr> | <tr>.gfx - Graphic File<br>.ggfx - Global Object Graphic File<br> .apa - Project backup<br> .apb - Project backup</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
In Progress | [5 empty] | <table class="center"> <thead><th>In Progress</th> | <th></th> | <th></th> | <th></th> | <th></th> | <th></th>
Need to Complete | [5 empty] | <table class="center"> <thead><th>Need to Complete</th> | <th></th> | <th></th> | <th></th> | <th></th> | <th></th>

## FTViewME
Skill Name | Example Experience | Reference Material | Reference Documents | Industry Example Experience | Weight % | <table class="center"> <thead><th>Skill Name</th> | <th>Example Experience</th> | <th>Reference Material</th> | <th>Reference Documents</th> | <th>Industry Example Experience </th> | <th>Weight %</th>
Configure Development workstation | Configure the VM with the development software installed on it. |  |  |  |  | <tr>Configure Development workstation</tr> | <tr>Configure the VM with the development software installed on it.</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Research Software | Learn internally at Interstates while working countless projects |  |  |  |  | <tr>Research Software</tr> | <tr>Learn internally at Interstates while working countless projects</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Build a standards project in this HMI software and simulate it | Deployed multiple Plant PAX and Interstates Standards builds |  |  |  |  | <tr>Build a standards project in this HMI software and simulate it</tr> | <tr>Deployed multiple Plant PAX and Interstates Standards builds</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Deploy application to live site or R&D Lab | Deployed multiple applications to multiple different plants |  |  |  |  | <tr>Deploy application to live site or R&D Lab</tr> | <tr>Deployed multiple applications to multiple different plants</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Develop a main screen | Developed a overview screen for each area of multiple plants |  |  |  |  | <tr>Develop a main screen</tr> | <tr>Developed a overview screen for each area of multiple plants</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Develop a static popup | developed a General notification popup |  |  |  |  | <tr>Develop a static popup</tr> | <tr>developed a General notification popup</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Develop a dynamic popup | developed a motor control popup |  |  |  |  | <tr>Develop a dynamic popup</tr> | <tr>developed a motor control popup</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Design and deploy a multi client stand alone system | 3 separate stand alone systems deployed to multiple sites |  |  |  |  | <tr>Design and deploy a multi client stand alone system</tr> | <tr>3 separate stand alone systems deployed to multiple sites</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Trending | Built trending with trend control |  |  |  |  | <tr>Trending</tr> | <tr>Built trending with trend control</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Publish application | Publish and deployed application to multiple sites |  |  |  |  | <tr>Publish application</tr> | <tr>Publish and deployed application to multiple sites</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Build navigation bar | Build navigation bar to navigate around all systems |  |  |  |  | <tr>Build navigation bar</tr> | <tr>Build navigation bar to navigate around all systems</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Configure Tags | Configure tags for historical use, data logging, internal alarms |  |  |  |  | <tr>Configure Tags</tr> | <tr>Configure tags for historical use, data logging, internal alarms</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Configure OPC UA/DA tags | Have configure OPC DA for Kepware and deployed. Have configured OPC DA for Schneider OPCUA server however tag limit of < 1000 or won't work with Rockwell so only used in R&D |  |  |  |  | <tr>Configure OPC UA/DA tags</tr> | <tr>Have configure OPC DA for Kepware and deployed. Have configured OPC DA for Schneider OPCUA server however tag limit of < 1000 or won't work with Rockwell so only used in R&D </tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Build tag generation tool | Build a alarm generation tool as well as a data log generation tool that would auto create tags based off of a csv file |  |  |  |  | <tr>Build tag generation tool</tr> | <tr>Build a alarm generation tool as well as a data log generation tool that would auto create tags based off of a csv file</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Identify different file types associated with this plc | .mer - Runtime File<br> .apa - Project backup<br> .apb - Project backup |  |  |  |  | <tr>Identify different file types associated with this plc</tr> | <tr>.mer - Runtime File<br> .apa - Project backup<br> .apb - Project backup</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
In Progress | [5 empty] | <table class="center"> <thead><th>In Progress</th> | <th></th> | <th></th> | <th></th> | <th></th> | <th></th>
Need to Complete | [5 empty] | <table class="center"> <thead><th>Need to Complete</th> | <th></th> | <th></th> | <th></th> | <th></th> | <th></th>

## Studio 5000 View Designer
Skill Name | Example Experience | Reference Material | Reference Documents | Industry Example Experience | Weight % | <table class="center"> <thead><th>Skill Name</th> | <th>Example Experience</th> | <th>Reference Material</th> | <th>Reference Documents</th> | <th>Industry Example Experience </th> | <th>Weight %</th>
Configure Development workstation | Configure the VM with the development software installed on it. |  |  |  |  | <tr>Configure Development workstation</tr> | <tr>Configure the VM with the development software installed on it.</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Deploy application to live site or R&D Lab | Deployed application to one site |  |  |  |  | <tr>Deploy application to live site or R&D Lab</tr> | <tr>Deployed application to one site</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Develop a main screen | Developed a overview screen for each area of multiple plants |  |  |  |  | <tr>Develop a main screen</tr> | <tr>Developed a overview screen for each area of multiple plants</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Develop a static popup | developed a General notification popup |  |  |  |  | <tr>Develop a static popup</tr> | <tr>developed a General notification popup</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Develop a dynamic popup | developed a motor control popup |  |  |  |  | <tr>Develop a dynamic popup</tr> | <tr>developed a motor control popup</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Design and deploy a multi client stand alone system | 3 separate stand alone systems deployed to multiple sites |  |  |  |  | <tr>Design and deploy a multi client stand alone system</tr> | <tr>3 separate stand alone systems deployed to multiple sites</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Publish application | Publish and deployed application to multiple sites |  |  |  |  | <tr>Publish application</tr> | <tr>Publish and deployed application to multiple sites</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Build navigation bar | Build navigation bar to navigate around all systems |  |  |  |  | <tr>Build navigation bar</tr> | <tr>Build navigation bar to navigate around all systems</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Configure Tags | Configure tags for historical use, data logging, internal alarms |  |  |  |  | <tr>Configure Tags</tr> | <tr>Configure tags for historical use, data logging, internal alarms</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
In Progress | [5 empty] | <table class="center"> <thead><th>In Progress</th> | <th></th> | <th></th> | <th></th> | <th></th> | <th></th>
Need to Complete | [5 empty] | <table class="center"> <thead><th>Need to Complete</th> | <th></th> | <th></th> | <th></th> | <th></th> | <th></th>
Research Software | [5 empty] | <tr>Research Software</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Build a standards project in this HMI software and simulate it | [5 empty] | <tr>Build a standards project in this HMI software and simulate it</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Write advanced scripts in all supported languages | [5 empty] | <tr>Write advanced scripts in all supported languages</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>
Trending | [5 empty] | <tr>Trending</tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr> | <tr></tr>

## Plant PAX
Skill Name | Example Experience | Reference Material | Reference Documents | Industry Example Experience | <table class="center"> <thead><th>Skill Name</th> | <th>Example Experience</th> | <th>Reference Material</th> | <th>Reference Documents</th> | <th>Industry Example Experience </th>
P_PIDE | Able to trouble shoot and configure |  |  |  | <tr>P_PIDE</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_Alarm | Able to trouble shoot and configure |  |  |  | <tr>P_Alarm</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_AIN | Able to trouble shoot and configure |  |  |  | <tr>P_AIN</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_DIN | Able to trouble shoot and configure |  |  |  | <tr>P_DIN</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_DOUT | Able to trouble shoot and configure |  |  |  | <tr>P_DOUT</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_MOTOR | Able to trouble shoot and configure |  |  |  | <tr>P_MOTOR</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_VSD | Able to trouble shoot and configure |  |  |  | <tr>P_VSD</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_PF52x | Able to trouble shoot and configure |  |  |  | <tr>P_PF52x</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_PF75x | Able to trouble shoot and configure |  |  |  | <tr>P_PF75x</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_E300Ovld | Able to trouble shoot and configure |  |  |  | <tr>P_E300Ovld</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_MOTOR2SPD | Able to trouble shoot and configure |  |  |  | <tr>P_MOTOR2SPD</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_GATE | Able to trouble shoot and configure |  |  |  | <tr>P_GATE</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_VALVESO | Able to trouble shoot and configure |  |  |  | <tr>P_VALVESO</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_VALVEC | Able to trouble shoot and configure |  |  |  | <tr>P_VALVEC</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_Runtime | Able to trouble shoot and configure |  |  |  | <tr>P_Runtime</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_ValveStats | Able to trouble shoot and configure |  |  |  | <tr>P_ValveStats</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_INTK | Able to trouble shoot and configure |  |  |  | <tr>P_INTK</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>
P_PERM | Able to trouble shoot and configure |  |  |  | <tr>P_PERM</tr> | <tr>Able to trouble shoot and configure</tr> | <tr></tr> | <tr></tr> | <tr></tr>